

 [image: image1.png]AED
‘) ' brands.



                       SITE RESPONSE PLAN
	Name of Organization:
	Linden Seventh-day Adventists Church

	
	

	Address:
	228-20 137th Avenue
Jamaica, New York 11416

	Phone Number:
	718-527-4072

	Pastor’s Name & Email:
	Warner A. Richards
pastorrichards@lindensdachurch.org

	
	


Locations with Automated External Defibrillators (AED) must have a site specific response plan. This plan summarizes your response during an emergency. Please post this plan in a conspicuous location, distribute to all trained responders and update as need. All certified staff should review this plan periodically to ensure readiness during an emergency. 
PROGRAM MANAGEMENT

Linden SDA Church Medical Emergency Response Team (MERT) is responsible for management and oversight of the church’s AED Program. Questions about overall administration may be directed to Damian Lee, Director of MERT. 
SITE CONTACT

As designated by the Church Executive Board, the AED contact person at this church is 
Name: 

    Damian Lee
Phone Number: 347-494-0799/718-926-5641
Email Address:  damianorlando@gmail.com
The responsibilities of the site contact include:
Scheduling training, drills, and service calls; performing monthly maintenance of the AED and notifying the Church Board of completion of maintenance or if the defibrillator is in need of service (see Maintenance Checklist); maintaining records of trained responders and informing the Church Board of changes. 

AED PLACEMENT AND QUANTITY

AED equipment are provided and maintained on-site in each facility in quantities adequate to ensure ready and appropriate access for use during emergencies. Ideally, AEDs should be located so that the response interval (time from collapse to arrival of the AED) is no more than three minutes and the call-to-shock interval (the time it takes responders to be notified, access the device, reach the victim, apply the electrodes and deliver the first shock) is no more than five minutes. Signage clearly indicating the location of the AED is required. Locations are: 
	Serial Number
	Specific Location

	04047641
B13F-02497
	2nd Floor/Rotunda 



TRAINED RESPONDERS
Trained Responders are: 
	Name
	Certification  Type

	Training
Expiration Date

	Damian Lee, PA-C, FCCS

	BLS, ACLS, ATLS
	5/2015

	Sharon Martin, RN

	BLS
	

	Kristen Taffe, RN
	BLS, ACLS
	5/2015; 9/2014

	Ashley Verlus, RN

	BLS, ACLS
	3/2014; 4/2015

	Edna Davis, NP-C
	BLS, ACLS
	7/2014

	Antionette DeSouza, RN
	BLS
	1/2014

	Ancilla Roberts, RN
	BLS; ACLS
	10/2014

	Arlene Small, RN, 
	BLS, NRP
	3/2014

	Dessa Garnett, RN
	BLS
	5/2014

	Merle Pike, RN
	BLS, ACLS
	12-/2013

	Kurt Monroe, LPN
	BLS
	1/2014

	
	
	

	
	
	


EMERGENCY PROCEDURES
· Activate in-house MERT for medical emergency concerns
· Upon arrival, assess for scene safety; use universal precautions 

· Assess patient for unresponsiveness 

· If unresponsive, activate EMS system 

Call 911 - Procedure to call 911:
_______________________________________ 

When calling 911, you must state: "We have a defibrillator." If 911caller is not the AED responder stay on the phone until the 911 dispatcher hangs up. 
Announce Code Blue - Method to announce Code Blue:
_______________________________________ 
[image: image2.wmf] Public Address System (Announce Code Blue (3 times) and location
[image: image3.wmf] Cell Phones
[image: image4.wmf] Radio
[image: image5.wmf] Other Phone/audio visual prompt/announcement
Upon MERT protocol activation, the assigned deacons or any staff member retrieves the AED and responds to location. 
Once trained responders have arrived at the scene, they shall perform the following: 
· Assess for responsiveness 

· Open airway, assess for breathing. Administer breaths, if needed 

· Administer chest compressions 

· Perform CPR (30 compressions followed by 2 breaths until AED arrives) or (100 compressions/minute compression only) do not interrupt compressions for less than 10 seconds
· Apply the AED as soon as it is available. 

· For victims equal to or less than 55lbs or under 8 years of age, Perform 2 minutes of CPR before applying AED. If needed and available, use pediatric defibrillation pads. 

· Turn AED ON 

· Following AED instructions, apply defibrillation pads in the proper locations. 

· Do not place the AED pads over the nipple, medication patches, or implanted devices. 

· When advised, deliver a shock to the patient after first clearing the patient area. 

· Begin CPR for 2 minutes. 

· Continue to monitor patient's breathing and perform 1 shock followed by 2 minutes of CPR until otherwise prompted by the AED or EMS personnel. 

· Leave AED ON and attached to the patient until EMS instructs you otherwise. 

TRANSFER OF CARE TO EMS
· Follow instructions of EMS 

· Document and communicate important information such as victim's name, age and history to EMS. 

· AED screen will display elapsed time and number of shocks delivered. 

· Assist as requested by EMS.

POST USE PROCEDURES

Immediately following the use of the AED, contact Damian Lee at (347) 494-0799. MERT will retrieve data, review AED response, replenish supplies and complete NYS required quality assurance report. 

ONGOING MAINTENANCE

MERT will perform semi-annual drills and inspections of your defibrillators. The AED site contact must perform monthly maintenance of AED to include the following: 

· Verify status indicator, this is a green light on the upper right corner of the AED. 

· Ensure all supplies, accessories and spares are present and are in operating condition. 

· Inspect the exterior and pads for signs of damage. 

· Ensure accuracy of trained responder list and certification expiration dates. 








_1644855071.unknown

_1644855072.unknown

_1644855070.unknown

_1644855069.unknown

